## Transmittal Form
COBie-FORMATTED TRANSMITTAL FORM |  |  |  | DATE: | 2019-05-15 08:45 | TRANSMITTAL NO.: | 26 24 19 - 01
SECTION 1. HEADER
| TO: | Galliford Try |  |  | FROM: | SES (Engineering Services)
|  | (ATTN:John Ford) |  |  |  | (ATTN: Gavin Dunstan)
|  | C&I North Scotland, Shand House |  |  |  | First Floor, 184-192 Drummond Street
|  | Derbyshire, Matlock DE4 3AF UK |  |  |  | London NW1 3HP UK
|  | 0752 222 7897 |  |  |  | 2073801800
|  | John.Ford@Gallifordtry.co.uk |  |  |  | gdunstan@ses-ltd.co.uk
SECTION 2. SUBJECT
| Project: | Four Dormitory Complex |  |  | Spec. Section: | 26 24 19 00 40 - MOTOR CONTROL CENTERS 08/10
| ID: | East Dormitory
SECTION 3. ACTION
| Action Reqd.: | Contractor Certified
| Comments: | This information appears to duplicate infomration provided in other submittals. Fire alarm panel in the fire alarm sheet, the security panel in the security sheet, the power and lighting DB in their respective ones. Cannot identify 225A control panel on the drawings.
| Action: | Initial
| Submitted By: | G Dunstan |  | Date Submitted: | 2019-05-15 08:45 |  | Date Required: | 2019-06-14 08:45
Action Taken:
Action Comment:
Action By:
SECTION 4. PRODUCT TYPES AND DATA (one sub-section required per product type)
Section 4.1 | Action: | Product Type: | Manufacturer | Model Number |  | Supplier
| Initial | Control Panel (Control Panel_225 A) | n/a | n/a |  | n/a
Attached Data Files
| Product Data: | n/a
| Mfg Test Report: | n/a
| Mfg Warranty: | n/a
| Instructions: | n/a
| Maintenance Manual: | n/a
| Replacement Parts: | n/a
| Field Test Reports: | n/a
| Accessory Products | Accessory Name | Attached Data file
| Product Data: | n/a | n/a
| Product Data: | n/a | n/a
| Product Data: | n/a | n/a
| Product Data: | n/a | n/a
Section 4.2 | Action: | Product Type: | Manufacturer | Model Number |  | Supplier
| Initial | Fire Alarm Control Panel (Fire Alarm Control Panel_16x19) | Advanced Electronics | MX-5400 |  | Specialist Fire & Security Ltd
Attached Data Files
| Product Data: | MX-5400 Fire Panel.pdf
| Mfg Test Report: | n/a
| Mfg Warranty: | n/a
| Instructions: | n/a
| Maintenance Manual: | n/a
| Replacement Parts: | MX-5400 Fire Panel-Spares.pdf
| Field Test Reports: | n/a
| Accessory Products | Accessory Name | Attached Data file
| Product Data: | Programmable 4-Way Relay Card | MX-5400 Fire Panel-RelayCard.pdf
| Product Data: | Routing Interface Card | MX-5400 Fire Panel-RoutingInterface.pdf
| Product Data: | Software | MX-5400 Fire Panel-Software.pdf
| Product Data: | Internet Connection Gateway | MX-5400 Fire Panel-IPGateway.pdf
Section 4.3 | Action: | Product Type: | Manufacturer | Model Number |  | Supplier
| Initial | Lighting and Appliance Panelboard - 400V MCB - Surface (Lighting and Appliance Panelboard - 400V MCB - Surface_400 A) | E&I Engineering Ltd | LV Switchboard |  | n/a
Attached Data Files
| Product Data: | LV SwitchBoard.pdf
| Mfg Test Report: | n/a
| Mfg Warranty: | n/a
| Instructions: | n/a
| Maintenance Manual: | n/a
| Replacement Parts: | n/a
| Field Test Reports: | n/a
| Accessory Products | Accessory Name | Attached Data file
| Product Data: | n/a
| Product Data: | n/a
| Product Data: | n/a
| Product Data: | n/a
Section 4.4 | Action: | Product Type: | Manufacturer | Model Number |  | Supplier
| Initial | Security Panel (Security Panel_225 A) | Texecom | Premier Elite 24 |  | Specialist Fire & Security Ltd
Attached Data Files
| Product Data: | Texecom Control Panels.pdf
| Mfg Test Report: | n/a
| Mfg Warranty: | n/a
| Instructions: | n/a
| Maintenance Manual: | n/a
| Replacement Parts: | n/a
| Field Test Reports: | n/a
| Accessory Products | Accessory Name | Attached Data file
| Product Data: | n/a
| Product Data: | n/a
| Product Data: | n/a
| Product Data: | n/a
Lean Handover(TM) Templates |  |  | (c)2016-9 Prairie Sky Consulting |  |  | www.prairieskyconsulting.com

## Company
Category | PickCompany | Street | City | StateRegion | Country | PostalCode | Phone | Email | Website
PM_20_20_67 : Project manager | Galliford Try | C&I North Scotland, Shand House | Matlock | Derbyshire | UK | DE4 3AF | 0752 222 7897 | John.Ford@Gallifordtry.co.uk | www.Gallifordtry.co.uk
PM_20_20_85 : Sub-contractor | SES (Engineering Services) | First Floor | 184-192 Drummond Street | London | UK | NW1 3HP | 2073801800 | gdunstan@ses-ltd.co.uk | www.ses-ltd.co.uk
PM_20_20_86 : Supplier | Specialist Fire & Security Ltd | Unit 1 Kingsfisher Way | Hitchingbrooke Business Park | Huntingdon | UK | PE29 6AA | 01480 457397 | info@specialistfiresecurity.co.uk | www.specialistfiresecurity.co.uk
PM_20_20_54 : Manufacturer | E&I Engineering Ltd | 2-8 Victoria Avenue | n/a | London | UK | EC2M4NS | 2032061650 | info@e-i-eng.com | www.powerbarsystems.com
PM_20_20_54 : Manufacturer | Texecom | St Crispin Way | Haslingden | Lancashire | UK | BB4 4PW | 1706 212524 | sales@texe.com | www.texe.com/uk
PM_20_20_54 : Manufacturer | Advanced Electronics | The bridges | Balliol business park | Newcastle | UK | NE128EW | 8458947000 | enquiries@advancedco.com | www.advancedco.com

## Pick List (hidden)
Submittal Action | Form Action | Role
Initial | Contractor Certified | PM_20 : Personnel
Revision | Information Only | PM_20_10 : Organization roles
Addition | Owner Approval | PM_20_10_05 : Associate
Deletion |  | PM_20_10_12 : Chairman
PM_20_10_14 : Chief executive officer
PM_20_10_16 : Chief financial officer
PM_20_10_18 : Chief operating officer
PM_20_10_25 : Director
PM_20_10_30 : Executive director
PM_20_10_50 : Manager
PM_20_10_53 : Managing director
PM_20_10_58 : Non-executive director
PM_20_10_60 : Partner
PM_20_10_65 : President
PM_20_10_94 : Vice chairman
PM_20_10_95 : Vice president
PM_20_20 : Asset management and delivery roles
PM_20_20_01 : Access consultant
PM_20_20_04 : Asset manager
PM_20_20_11 : Catering consultant
PM_20_20_13 : Clerk of works
PM_20_20_14 : Client
PM_20_20_15 : Client advisor
PM_20_20_16 : Client representative
PM_20_20_18 : Construction operative
PM_20_20_19 : Contract administrator
PM_20_20_20 : Contractor
PM_20_20_22 : Cost consultant
PM_20_20_26 : Employer
PM_20_20_27 : Employer's agent
PM_20_20_28 : Energy consultant
PM_20_20_30 : Facilities manager
PM_20_20_36 : Health and safety consultant
PM_20_20_40 : Importer
PM_20_20_42 : Information manager
PM_20_20_43 : Insurance consultant
PM_20_20_47 : Legal consultant
PM_20_20_50 : Maintenance provider
PM_20_20_52 : Management consultant
PM_20_20_54 : Manufacturer
PM_20_20_56 : Nominated supplier
PM_20_20_65 : Procurement consultant
PM_20_20_67 : Project manager
PM_20_20_74 : Safety manager
PM_20_20_76 : Security consultant
PM_20_20_85 : Sub-contractor
PM_20_20_86 : Supplier
PM_20_20_88 : Traffic consultant
PM_20_20_90 : Transportation consultant
PM_20_30 : Statutory roles
PM_20_30_09 : Building control officer
PM_20_30_16 : Conservation officer
PM_20_30_26 : Environmental officer
PM_20_30_36 : Heritage officer
PM_20_30_60 : Party wall surveyor
PM_20_30_65 : Planning officer
PM_20_30_67 : Principal contractor
PM_20_30_68 : Principal designer
PM_20_40 : Team lead roles
PM_20_40_04 : Asset management lead
PM_20_40_19 : Construction lead
PM_20_40_25 : Design lead
PM_20_40_61 : Operation lead
PM_20_40_69 : Programme lead
PM_20_40_70 : Project lead
PM_20_50 : Design roles
PM_20_50_02 : Acoustic engineer
PM_20_50_03 : Architect
PM_20_50_04 : Architectural designer
PM_20_50_05 : Architectural technologist
PM_20_50_08 : Building services engineer
PM_20_50_11 : Civil engineer
PM_20_50_14 : Cladding designer
PM_20_50_17 : Commissioning engineer
PM_20_50_24 : Demolition engineer
PM_20_50_28 : Drainage engineer
PM_20_50_30 : Electrical services engineer
PM_20_50_33 : Fire engineer
PM_20_50_41 : Highways engineer
PM_20_50_43 : Interior designer
PM_20_50_47 : Landscape architect
PM_20_50_48 : Landscape designer
PM_20_50_50 : Lighting designer
PM_20_50_53 : Mechanical, electrical, instrumentation, control and automation (MEICA) consultant
PM_20_50_54 : Mechanical services engineer
PM_20_50_69 : Process engineer
PM_20_50_73 : Public health engineer
PM_20_50_76 : Rail engineer
PM_20_50_77 : Road engineer
PM_20_50_80 : Signage designer
PM_20_50_83 : Structural engineer
PM_20_50_90 : Telecommunication engineer
PM_20_50_96 : Water services engineer
PM_20_70 : Surveyor and planner roles
PM_20_70_10 : Building inspector
PM_20_70_11 : Building surveyor
PM_20_70_16 : Conservation surveyor
PM_20_70_26 : Environmental surveyor
PM_20_70_36 : Heritage surveyor
PM_20_70_37 : Geotechnical surveyor
PM_20_70_46 : Land surveyor
PM_20_70_64 : Planning consultant
PM_20_70_75 : Quantity surveyor
PM_20_70_80 : Site investigation consultant
PM_20_70_85 : Survey specialist
PM_20_70_93 : Utilities surveyor
PM_20_80 : Environmental and geological roles
PM_20_80_04 : Archaeologist
PM_20_80_25 : Ecologist
PM_20_80_27 : Environmental assessor
PM_20_80_28 : Environmental consultant
PM_20_80_35 : Geographic information system consultant
PM_20_80_37 : Geotechnical consultant
PM_20_80_85 : Sustainability consultant